WEARMAP

User Manual  ·  Version 1.0.3

Image analysis software for dental wear research

1. Introduction

Wearmap is an image analysis program designed specifically for dental wear research. It lets you measure distances, areas and angles on microscope images, classify wear following the Puech (1983) model, and export all data to Excel or CSV.

No installation is required: simply run the Wearmap.exe file.

2. System requirements

Operating system: Windows 10 or Windows 11 (64-bit)

Memory: at least 4 GB of RAM

Disk space: about 150 MB for the executable

Screen resolution: at least 1280 × 800 px

3. Getting started

3.1 Opening an image

There are three ways to open an image:

Click the Open button on the toolbar.

Use the menu File → Open Image.

Drag and drop an image file onto the window.

Supported formats: PNG, JPG, JPEG, TIF, TIFF, BMP, GIF, WEBP.

3.2 Browsing images

If the open image is in a folder with more images, the Prev and Next buttons on the toolbar (or the left and right arrow keys) let you move between them. Each image keeps its own measurements, calibration and analysis area.

3.3 Zoom and panning

Mouse wheel: zoom in and out.

Pan tool (S) active + drag: move around the image.

Zoom in / Zoom out / Fit buttons: manual zoom and fit to window.

4. Tooth context

Before measuring distances, set the tooth context in the side panel on the right. This information is used to compute the Puech classification automatically.

4.1 Parameters

Tooth: I1, I2, C, Pm3, Pm4, M1, M2, M3

Jaw: Upper (maxilla) or Lower (mandible)

Side: Right or Left

Any change to these parameters is applied immediately to all measurements of the current image.

5. Measurement tools

Choose a tool from the toolbar or with its keyboard shortcut.

5.1 Pan  [S]

Selection and panning mode. Click existing measurements to select them.

5.2 Distance  [D]

Measures the distance between two points. Click the start point and then the end point. The result shows the distance, the slope (angle in degrees) and the Puech class (P1–P4), computed automatically.

Puech classification:

P1 — Horizontal (angle ≤ 22.5° or ≥ 157.5°)

P2 — Vertical (angle between 67.5° and 112.5°)

P3 — Mesial

P4 — Distal

5.3 Area  [A]

Draw a polygon to measure an area. Click to add vertices. Close the polygon with a right-click or a double-click. At least 3 points are required.

5.4 Angle  [G]

Measures the angle formed by three points. Click the first end, the vertex and the second end.

5.5 Count  [C]

Counts objects. Click to mark each object (a numbered circle appears). Finish the count with a right-click.

5.6 Pits  [P]

Marks pits or points of interest with a small dot. It works like Count but without numbering. The coordinates of each pit are exported in the Points (px) column.

5.7 Calibrate  [K]

Sets the real-world scale of the image. Draw a line over a feature of known size, enter its real length and unit (pm, nm, Å, μm, mm, cm…). Once calibrated, all measurements are shown in real units.

5.8 Labels  [L]

Toggle button that shows or hides the text labels on the image. Measurements stay active.

5.9 Analysis area

Lets you delimit a rectangular region of the image and count only the striations and parameters that fall inside it.

Edit → Create Analysis Area… (or the Area box button): enter the width and height in calibrated units (in px if the image is not calibrated).

The area appears in the centre of the view. Drag it to position it and use the handles on its edges and corners to resize it (with the Pan tool active).

The Analysis Area box in the side panel updates live: number of striations, count per Puech class (P1–P4), mean length ± standard deviation, area, density (striations/mm²) and points (Count/Pits).

Hold Ctrl and drag to pan the image even when the pointer is over the area.

A striation counts as inside the area when its midpoint is inside.

Each image has its own area. Edit → Remove Analysis Area deletes it.

6. Image filters

The side panel has a Filters tab with the following controls:

Brightness / Contrast / Sharpness: sliders from −100 to +100.

Blur: Gaussian blur.

Grayscale: converts to grayscale.

Invert: inverts the colours.

Special filters: Auto Levels, Equalize, Edge Detect, Sharpen.

Reset: restores the original image.

Filters are non-destructive: they never modify the original file.

7. Exporting data

Click the Export button (or press Ctrl+E). A dialog opens to choose the format and location.

7.1 Available formats

Excel (.xlsx): recommended. A single file with separate sheets.

CSV (.csv): produces separate files (_summary, and _roi when an analysis area exists).

Tab-separated (.txt): same as CSV but tab-delimited.

7.2 “Detail” sheet — individual data

One row per measurement with the columns: Image, ID, Type, Tooth, Jaw, Side, Unit, Value, Slope (°), Puech, Striation Type, Points (px).

7.3 “Summary” sheet — statistics per Puech class

One row per Puech category (1–4) per image, plus a TOTAL row at the end of each image with the overall count, mean and standard deviation of all distances.

7.4 “ROI” sheet — analysis area

If any image has an analysis area, the Excel file includes a third sheet, ROI, with one row per image: size, area, striation count, count per Puech class, mean length and standard deviation, density and points. For CSV or TXT an additional file with the suffix _roi is created.

8. Keyboard shortcuts

| Key | Action |
| --- | --- |
| S | Pan tool |
| D | Distance tool |
| A | Area tool |
| G | Angle tool |
| C | Count tool |
| P | Pits tool |
| K | Calibrate tool |
| L | Show / hide labels |
| Ctrl+O | Open image |
| Ctrl+E | Export measurements |
| Delete | Delete selected measurement |
| ← → | Previous / next image |
| Ctrl + = | Zoom in |
| Ctrl + - | Zoom out |
| Ctrl + 0 | Fit to window |
| F1 | Open this manual |

8.1 Help and appearance

F1 (Help → Read Manual): opens this manual.

View → Theme: switches between the light and dark theme. Your choice is remembered.

9. Troubleshooting

The image does not open

Check that the format is supported. Large TIFF files may take a few seconds to load.

Labels cover the image

Press L or click the Labels button to hide them temporarily.

The Summary sheet is empty

The Summary sheet only includes Distance measurements with a valid Puech class (1–4). Check that Jaw and Side are set.

The Puech value is always “-”

Set the Jaw and Side drop-downs in the Tooth Context panel before drawing distances.

Wearmap v1.0.3  ·  Dental wear analysis software